| YEAR: __________ |  | FACILITY: _____________________________ |  |  |  |  |  | TANK SIZE & CONTENTS: _______________________________ |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | JAN | FEB | MAR | APR | MAY |  | JUN | JUL | AUG | SEP | OCT | NOV | DEC |
| How often | Activity |  | Include Date of each inspection or delivery and include a YES/NO – If problems are present include a comment |  |  |  |  |  |  |  |  |  |  |  |  |
| Pre- delivery | - Inspect spill bucket for liquid/debris prior to delivery - Ensure sufficient tank capacity |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Post - delivery | - Inspect spill bucket for liquid/debris subsequent to delivery - Check inches of water in tank subsequent to delivery and record here |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Monthly | - Inspect spill bucket and piping sump for liquid/debris |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Monthly | - Perform monthly release detection (tank & piping) - Print out results of release detection test for all tanks, sumps and piping |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| COMMENTS: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |